## Slide 1
1
Liberty Galati
power transformers in SC3-SRA17 and SRA12
Technical data and location dimensions
26 January 2023

## Slide 2
SC3 – SRA17 – Power transformers 1/3
TR1 – 40MVA
110kV/6kV
TR1
40MVA
TR2
40MVA
TR3
40MVA
l=9.1 m
L=10 m
transformer box foundations
Insulating transitions 110 kV, oil oil type (after RK air-oil)

## Slide 3
TR4 – 63MVA
110kV/6kV
TR1
63MVA
TR2
63MVA
TR3
63MVA
12 m
6.2 m
TR4
63MVA
8 m
SRA12 – Power transformers 1/3
transformer box foundations

## Slide 4
8.4 m
SRA12 – Power transformers 2/3
front view
rear view
the 110kV connection
the 110kV connection